## Asset_Inventory
Client_Name | Site_Name | Building | (spare) | Asset_Code | Asset_Type | Client_Description_unique | #Pieces | Property_Value | Property_Code | Technical_Size_Unit | Construction_Year | Actual_Condition | Required_Condition | Size_Percentage | Priority
DEV | Demo | Demo Y | DEV-1 | 5.8.11.10 | Control Panel (10 - 400 Amount) | Asset-Z-001 | 3 | 10 | # of Circuits | Amount | 2017 | 0 | 9 | 0 | 0
DEV | Demo | Demo Y | DEV-2 | 5.6.10.05 | Pressure Steps Deaerator Heating (1 - 1000 Power) | Asset-Z-002 | 1 | 200 | kW | Power | 2017 | 0 | 9 | 0 | 0
DEV | Demo | Demo Y | DEV-3 | 5.1.21.21 | Condensating Gas Boiler (40 - 10000 Power) | Asset-Z-003 | 2 | 150 | kW | Power | 2017 | 0 | 9 | 0 | 0
DEV | Demo | Demo Y | DEV-4 | 5.6.10.10 | Circulation Pump Heating (10 - 2500 Diameter) | Asset-Z-004 | 1 | 150 | mm | Diameter | 2017 | 0 | 9 | 0 | 0
DEV | Demo | Demo Y | DEV-5 | 5.6.10.10 | Circulation Pump Heating (10 - 2500 Diameter) | Asset-Z-005 | 1 | 150 | mm | Diameter | 2017 | 0 | 9 | 0 | 0
DEV | Demo | Demo Y | DEV-6 | 5.6.10.10 | Circulation Pump Heating (10 - 2500 Diameter) | Asset-Z-006 | 1 | 150 | mm | Diameter | 2017 | 0 | 9 | 0 | 0
DEV | Demo | Demo Y | DEV-7 | 5.6.10.40 | Double Inline Pump Heating | Asset-Z-007 | 1 | 120 | mm | mm | 2017 | 3 | 9 | 0 | 0
DEV | Demo | Demo Y | DEV-8 | 5.7.71.36 | Air Handling Unit (3 batteries (+/-/+)/Humidification/Filter Section/ Heat Recuperation) | Asset-Z-008 | 1 | 23900 | m3/h | m3/h | 2017 | 3 | 9 | 0 | 0
DEV | Demo | Demo Y | DEV-9 | 5.7.31.10 | Roof Extraction Unit | Asset-Z-009 | 1 | 23900 | m3/h | m3/h | 2017 | 3 | 9 | 0 | 0
DEV | Demo | Demo Y | DEV-10 | 5.7.71.12 | Air Handling Unit (1 battery/Filter Section/ Heat Recuperation) | Asset-Z-010 | 1 | 3800 | m3/h | m3/h | 2017 | 3 | 9 | 0 | 0
DEV | Demo | Demo Y | DEV-11 | 5.7.31.10 | Roof Extraction Unit | Asset-Z-011 | 1 | 3800 | m3/h | m3/h | 2017 | 3 | 9 | 0 | 0
DEV | Demo | Demo Y | DEV-12 | 5.7.31.00 | Extraction Unit (5000 - 500000 Flow rate) | Asset-Z-012 | 2 | 3800 | m3/h | Flow rate | 2017 | 0 | 9 | 0 | 0
DEV | Demo | Demo Y | DEV-13 | 5.8.11.10 | Control Panel (10 - 400 Amount) | Asset-Z-013 | 1 | 20 | # of Circuits | Amount | 2017 | 0 | 9 | 0 | 0
DEV | Demo | Demo Y | DEV-14 | 5.8.11.10 | Control Panel (10 - 400 Amount) | Asset-Z-014 | 1 | 20 | # of Circuits | Amount | 2017 | 0 | 9 | 0 | 0
DEV | Demo | Demo Y | DEV-15 | 5.6.10.71 | Motorised 3-way Valve Heating (15 - 2500 Diameter) | Asset-Z-015 | 1 | 40 | mm | Diameter | 2017 | 0 | 9 | 0 | 0
DEV | Demo | Demo Y | DEV-16 | 5.6.10.00 | Closed Expansion Vessel Heating (25 - 10000 Content) | Asset-Z-016 | 4 | 40 | L | Content | 2017 | 0 | 9 | 0 | 0
DEV | Demo | Demo Y | DEV-17 | 5.7.70.20 | VAV (15000 - 600000 Flow rate) | Asset-Z-017 | 57 | 1000 | m3/h | Flow rate | 2017 | 0 | 9 | 0 | 0
DEV | Demo | Demo Y | DEV-18 | 5.7.70.20 | VAV (15000 - 600000 Flow rate) | Asset-Z-018 | 537 | 1000 | m3/h | Flow rate | 2017 | 0 | 9 | 0 | 0
DEV | Demo | Demo Y | DEV-19 | 5.7.70.62 | Extraction Grill (1 - 100 Number) | Asset-Z-019 | 61 | 1 | pcs | Number | 2017 | 0 | 9 | 0 | 0
DEV | Demo | Demo Y | DEV-20 | 5.7.70.61 | Pulsion Grill (1 - 100 Number) | Asset-Z-020 | 244 | 1 | pcs | Number | 2017 | 0 | 9 | 0 | 0
DEV | Demo | Demo Y | DEV-21 | 5.7.70.62 | Extraction Grill (1 - 100 Number) | Asset-Z-021 | 10 | 1 | pcs | Number | 2017 | 0 | 9 | 0 | 0
DEV | Demo | Demo Y | DEV-22 | 5.8.21.00 | Thermical Energy Meter (1 - 100 Number) | Asset-Z-022 | 24 | 1 | pcs | Number | 2017 | 0 | 9 | 0 | 0
DEV | Demo | Demo Y | DEV-23 | 5.8.21.10 | Gas Meter | Asset-Z-023 | 1 | 500 | m3/h | m3/h | 2017 | 3 | 9 | 0 | 0
DEV | Demo | Demo Y | DEV-24 | 6.7.24.10 | Building Management System | Asset-Z-024 | 1 | 1 | pcs | pcs | 2017 | 3 | 9 | 0 | 0
DEV | Demo | Demo Y | DEV-25 | 6.7.24.12 | Field Equipment controllers (1 - 100 Number) | Asset-Z-025 | 231 | 1 | pcs | Number | 2017 | 0 | 9 | 0 | 0
DEV | Demo | Demo Y | DEV-26 | 5.8.21.20 | Water Meter (1 - 1000 Flow rate) | Asset-Z-026 | 16 | 500 | m3/h | Flow rate | 2017 | 0 | 9 | 0 | 0